## Instructions
Instructions to use the .csv template
1. In the samples tab, make a list of all of your samples (sample ID, well position, uL to pool)
Note: - Columns A:C can be edited with the pick list information. - Column D shows the rounded volume that will be used for pipetting.
2. Save the results in the CSV tabs
The first 50 liquid handling steps will appear in CSV1.
If you have more than 50 steps, then CSV2 will also have content. If you have fewer than 50 steps, then you can ignore CSV2.
Note: - When you save the CSV tabs, save them as CSV-formatted files. Do not use CSV UTF-8 format. - Each CSV save is a separate save-as operation. Go to the tab you want to save as a CSV before saving. - If you also want to save the workbook, make sure to save that as a .xls or .xlsx format in addition to saving the CSVs.
3. Transfer the CSV(s) to the Download directory on your tablet
4. To import a CSV from PipettePilot, follow these steps:
A. From the main screen, press Load Plan
B. Tap the import icon in the lower left-hand corner of the load screen
C. From the import plan pop-up, select Tablet storage (.csv) and press Import
D. From the file manager, select the CSV file you want to import
E. Check that the file imported correctly into a pipetting plan, and then continue and complete your pooling
F. Repeat these steps for each CSV

## Samples
Sample ID | Well Position | uL to pool | Rounded Volumes
rim | D02 | 3.317 | 3.32 |  | 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12
sup | B03 | 2.1781 | 2.18 | A | 05: 2.31; 08: 2.23; 10: 2.26
tug | G03 | 3.4352 | 3.44 | B | 03: 2.18; 08: 2.79
uke | H03 | 3.299 | 3.3 | C | 09: 3.21
van | H05 | 2.4162 | 2.42 | D | 02: 3.32; 03: 2.66; 05: 2.57
wan | F06 | 2.3408 | 2.34 | E | 05: 2.15; 06: 2.19; 10: 2.34
xag | A08 | 2.23 | 2.23 | F | 06: 2.34; 12: 2.24
you | B08 | 2.7939 | 2.79 | G | 03: 3.44
zig | C09 | 3.2101 | 3.21 | H | 03: 3.3; 05: 2.42; 11: 3.17
and | A10 | 2.2574 | 2.26
but | E10 | 2.3355 | 2.34
cut | H11 | 3.1716 | 3.17
dip | F12 | 2.2382 | 2.24
egg | D03 | 2.6633 | 2.66
fred | A05 | 2.3086 | 2.31
grip | D05 | 2.5713 | 2.57
hi | E05 | 2.1478 | 2.15
ice | E06 | 2.1935 | 2.19
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0

## CSV1
5 | 18
Pipetting step | rim | 3.32 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D |  | rim
E
F
G
H
Pipetting step | sup | 2.18 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B |  |  | sup
C
D
E
F
G
H
Pipetting step | tug | 3.44 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G |  |  | tug
H
Pipetting step | uke | 3.3 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H |  |  | uke
Pipetting step | van | 2.42 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H |  |  |  |  | van
Pipetting step | wan | 2.34 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F | [5 empty] | wan
G
H
Pipetting step | xag | 2.23 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [7 empty] | xag
B
C
D
E
F
G
H
Pipetting step | you | 2.79 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B | [7 empty] | you
C
D
E
F
G
H
Pipetting step | zig | 3.21 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C | [8 empty] | zig
D
E
F
G
H
Pipetting step | and | 2.26 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | [9 empty] | and
B
C
D
E
F
G
H
Pipetting step | but | 2.34 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E | [9 empty] | but
F
G
H
Pipetting step | cut | 3.17 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F
G
H | [10 empty] | cut
Pipetting step | dip | 2.24 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E
F | [11 empty] | dip
G
H
Pipetting step | egg | 2.66 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D |  |  | egg
E
F
G
H
Pipetting step | fred | 2.31 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A |  |  |  |  | fred
B
C
D
E
F
G
H
Pipetting step | grip | 2.57 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D |  |  |  |  | grip
E
F
G
H
Pipetting step | hi | 2.15 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E |  |  |  |  | hi
F
G
H
Pipetting step | ice | 2.19 | 8 | 12 | Standard | Color |  | 6 | 6 | Normal | Single-channel | No | No
[12 empty] | Per well | On source
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A
B
C
D
E | [5 empty] | ice
F
G
H

## CSV2
5 | 0

## Intermediate Lookups
| 01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12
A
B
C
D
E
F
G
H

## Sheet1
<CSV Revision> | <# of Wells> | <# of Steps>
<Step 1 Name> | <Volume>
<Sample 1>
<Step 2 Name> | <Volume>
<Sample 2>
tug | 3.44
tug
uke | 3.3
uke
van | 2.42
van
wan | 2.34
wan
xag | 2.23
xag
you | 2.79
you
zig | 3.21
zig
and | 2.26
and
but | 2.34
but
cut | 3.17
cut
dip | 2.24
dip
egg | 2.66
egg
fred | 2.31
fred
grip | 2.57
grip
hi | 2.15
hi
ice | 2.19
ice